## Assumptions
Assumptions — paper-authoritative constants (v3_9x6_1). BLUE = input. Sources in column D.
Anchor Wh per 400-token query (GPT-4o-mini) | 0.577 | Jegham et al. [15]; 100 input + 300 output tokens (Section 4.4)
Per-1,000-token conversion factor | 3.3333 | Equals 1000/300 total tokens (Section 4.11.1 -- 100 input tokens, 300 output tokens, not 400 tokens)
Anchor TPS (gpt-4o-mini, campaign P50) | 78.3 | Frozen corpus 24 Jun-22 Aug 2026 (SHA-256 01c57eb5...84cc6), n=105
PUE multiplier (central, absolute) | 1.05 | PUE_Calculation_Aug2026.xlsx / Table 6
PQPC for GPT-5.x | 2.99 | Section 4.10 (GB200/GB300-dominant fleet)
PQPC for GPT-4o-mini | 1 | Section 4.11.4 (A100-era anchor deployment)
Location-based intensity gCO2e/Wh | 0.353 | Table 3 / Section 4.7
Market-based intensity gCO2e/Wh (Stargate credited at Oracle FY25 corporate 46 gCO2e/kWh — Section 4.8) | 0.0642 | Table 5 / Section 4.8
A_low | 0.71 | Section 4.11.8 (0.30/0.423)
A_high | 1 | Section 4.11.8
PQPC_low (relative) | 0.53 | Section 4.10
PQPC_high (relative) | 1.48 | Section 4.10
P_low | 0.95 | Table 6 relative
P_high | 1.03 | Table 6 relative
Fixed_low GPT-5.x | 0.36 | Equals 0.71 x 0.53 x 0.95 (Section 4.11.8)
Fixed_high GPT-5.x | 1.52 | Equals 1.00 x 1.48 x 1.03 (Section 4.11.8)
Fixed_low GPT-4o-mini | 0.67 | Equals 0.71 x 1.00 x 0.95 (Section 4.11.8)
Fixed_high GPT-4o-mini | 1.03 | Equals 1.00 x 1.00 x 1.03 (Section 4.11.8)
Corpus provenance: InferenceCarbon_corpus_frozen_20260822.zip, SHA-256 01c57eb5bf41476fee8e06a8b677a72c172c849741cc65a9b554cf7397d84cc6. Copyright (c) 2026 InferenceCarbon Ltd.

## Corpus
Measured inputs from the frozen corpus (24 Jun - 22 Aug 2026). All values BLUE = measured data (medians / daily-median stats), not editable assumptions.
Row label | Corpus label | TPS median (P50) | n TPS | TPS daily-median mean | TPS daily-median SD | days | R central (1k hard) | n | R short (100/300 hard) | n | R long (10k hard) | n | R floor (easy 10k) | R heavy (k=36) | n | Mode | PQPC class
gpt-4o-mini | gpt-4o-mini | 78.3 | 105 | 80.1 | 23.9 | 57 | 1 | 47 | 1 | 46 | 1 | 4 | 1 | 1 | 12 | None | 4o
gpt-5 (high) | gpt-5 (high) | 69 | 94 | 68.1 | 15.7 | 56 | 6.12 | 32 | 9.1 | 34 |  |  | 3.24 | 14.39 | 12 | High | 5x
gpt-5 (xhigh) | gpt-5 (xhigh) | 61.85 | 101 | 63.8 | 16.7 | 56 | 3.75 | 38 | 5.77 | 35 | 3.59 | 2 | 1.67 | 8.71 | 12 | xHigh | 5x
gpt-5.2 (non-reasoning) | gpt-5.2 (minimal) | 60.3 | 102 | 59.6 | 6.4 | 57 | 1 | 40 | 1 | 37 | 1 | 4 | 1 | 1 | 20 | None | 5x
gpt-5.2 (xhigh) | gpt-5.2 (xhigh) | 59.39 | 102 | 59.1 | 6.9 | 56 | 3.22 | 34 | 3.59 | 37 |  |  | 1.48 | 7.08 | 12 | xHigh | 5x
gpt-5.4-nano (non-reasoning) | gpt-5.4-nano (minimal) | 156.58 | 102 | 156.6 | 18.7 | 57 | 1 | 40 | 1 | 37 | 1 | 4 | 1 | 1 | 20 | None | 5x
gpt-5.4-nano (medium) | gpt-5.4-nano (medium) | 156 | 102 | 152.3 | 22.1 | 57 | 1.83 | 40 | 1.98 | 37 | 1.83 | 4 | 1.07 | 3.62 | 20 | Medium | 5x
gpt-5.4-nano (xhigh) | gpt-5.4-nano (xhigh) | 154.37 | 99 | 153.7 | 19.8 | 56 | 3.7 | 39 | 4.1 | 37 | 3.89 | 4 | 2.03 | 8.31 | 12 | xHigh | 5x
gpt-5.4-mini (non-reasoning) | gpt-5.4-mini (minimal) | 145.41 | 103 | 140.5 | 18.1 | 57 | 1 | 40 | 1 | 37 | 1 | 4 | 1 | 1 | 20 | None | 5x
gpt-5.4-mini (medium) | gpt-5.4-mini (medium) | 140.63 | 102 | 136.7 | 15.2 | 57 | 1.67 | 40 | 1.78 | 37 | 1.72 | 4 | 1.08 | 3.66 | 20 | Medium | 5x
gpt-5.4-mini (xhigh) | gpt-5.4-mini (xhigh) | 145.78 | 33 | 139.2 | 24.5 | 23 | 13.01 | 27 | 12.5 | 33 | 5.23 | 1 | 3.71 | 35.9 | 12 | xHigh | 5x
gpt-5.4 (non-reasoning) | gpt-5.4 (minimal) | 85.94 | 102 | 86 | 12.7 | 57 | 1 | 40 | 1 | 37 | 1 | 4 | 1 | 1 | 20 | None | 5x
gpt-5.4 (xhigh) | gpt-5.4 (xhigh) | 95.16 | 61 | 95.6 | 10.1 | 44 | 3.89 | 39 | 4.05 | 36 | 2.99 | 1 | 1.44 | 6.84 | 12 | xHigh | 5x
gpt-5.5 (minimal) | gpt-5.5 (minimal) | 59.88 | 102 | 60.9 | 9.2 | 57 | 1.71 | 39 | 2.07 | 37 | 1.84 | 4 | 1.02 | 5.82 | 12 | Minimal (measured) | 5x
gpt-5.5 (low) | gpt-5.5 (low) | 61.38 | 102 | 61.2 | 8.6 | 57 | 1.45 | 39 | 1.64 | 37 | 1.34 | 4 | 1.01 | 2.07 | 20 | Low | 5x
gpt-5.5 (medium) | gpt-5.5 (medium) | 60.89 | 103 | 61.4 | 9.1 | 57 | 1.69 | 39 | 2.01 | 37 | 1.54 | 4 | 1.02 | 3.21 | 12 | Medium | 5x
gpt-5.5 (high) | gpt-5.5 (high) | 60.69 | 101 | 61.5 | 9 | 56 | 2.39 | 39 | 2.99 | 36 | 2.2 | 4 | 1.14 | 4.93 | 12 | High | 5x
gpt-5.5 (xhigh) | gpt-5.5 (xhigh) | 59.91 | 100 | 61.4 | 9.9 | 56 | 2.46 | 38 | 3.52 | 37 | 2.76 | 3 | 1.29 | 5.62 | 12 | xHigh | 5x
gpt-5.6-luna (minimal) | gpt-5.6-luna (minimal) | 129.9 | 68 | 127.8 | 19.9 | 41 | 1.6 | 40 | 2.04 | 37 | 1.5 | 4 | 1.03 | 2.71 | 20 | Minimal (measured) | 5x
gpt-5.6-luna (low) | gpt-5.6-luna (low) | 131.85 | 68 | 130 | 21.1 | 41 | 1.43 | 40 | 1.73 | 37 | 1.36 | 4 | 1.02 | 2.06 | 20 | Low | 5x
gpt-5.6-luna (medium) | gpt-5.6-luna (medium) | 134.91 | 68 | 135.1 | 29.1 | 41 | 1.58 | 40 | 1.97 | 37 | 1.47 | 4 | 1.03 | 2.7 | 20 | Medium | 5x
gpt-5.6-luna (high) | gpt-5.6-luna (high) | 133.12 | 66 | 131.4 | 17.8 | 41 | 2.1 | 40 | 2.38 | 37 | 2.1 | 4 | 1.1 | 4.03 | 20 | High | 5x
gpt-5.6-luna (xhigh) | gpt-5.6-luna (xhigh) | 130.2 | 66 | 130.1 | 20.3 | 41 | 2.58 | 39 | 3.43 | 37 | 2.29 | 4 | 1.22 | 5.31 | 13 | xHigh | 5x
gpt-5.6-sol (minimal) | gpt-5.6-sol (minimal) | 52.91 | 66 | 53.9 | 6.4 | 40 | 1.44 | 40 | 1.8 | 37 | 1.35 | 4 | 1.02 | 2.51 | 13 | Minimal (measured) | 5x
gpt-5.6-sol (low) | gpt-5.6-sol (low) | 53.57 | 68 | 53.2 | 8.2 | 41 | 1.36 | 40 | 1.63 | 37 | 1.27 | 4 | 1.01 | 2.06 | 20 | Low | 5x
gpt-5.6-sol (medium) | gpt-5.6-sol (medium) | 53.64 | 63 | 54.4 | 6.5 | 40 | 1.47 | 39 | 1.76 | 37 | 1.34 | 4 | 1.02 | 2.61 | 13 | Medium | 5x
gpt-5.6-sol (high) | gpt-5.6-sol (high) | 53.63 | 63 | 53.5 | 6.6 | 39 | 1.64 | 39 | 2.04 | 37 | 1.52 | 4 | 1.06 | 3.19 | 12 | High | 5x
gpt-5.6-sol (xhigh) | gpt-5.6-sol (xhigh) | 55.21 | 71 | 54.7 | 8.5 | 40 | 1.91 | 39 | 2.13 | 37 | 2.01 | 4 | 1.15 | 3.66 | 12 | xHigh | 5x
gpt-5.6-sol (max)* | gpt-5.6-sol (xhigh) | 55.21 | 71 | 54.7 | 8.5 | 40 | 1.91 | 39 | 2.13 | 37 | 2.01 | 4 | 1.15 | 3.66 | 12 | Max (floor) | 5x
gpt-5.6-terra (minimal) | gpt-5.6-terra (minimal) | 96.85 | 68 | 94.5 | 11.9 | 40 | 1.38 | 40 | 1.6 | 37 | 1.35 | 4 | 1.01 | 2.28 | 20 | Minimal (measured) | 5x
gpt-5.6-terra (low) | gpt-5.6-terra (low) | 93.61 | 67 | 93.1 | 9.7 | 39 | 1.36 | 40 | 1.54 | 37 | 1.22 | 4 | 1.01 | 2.41 | 20 | Low | 5x
gpt-5.6-terra (medium) | gpt-5.6-terra (medium) | 94.86 | 67 | 93.5 | 9.1 | 40 | 1.37 | 41 | 1.63 | 37 | 1.32 | 4 | 1.01 | 2.48 | 20 | Medium | 5x
gpt-5.6-terra (high) | gpt-5.6-terra (high) | 95.52 | 66 | 94 | 9.7 | 40 | 1.45 | 39 | 1.66 | 38 | 1.34 | 4 | 1.02 | 2.8 | 20 | High | 5x
gpt-5.6-terra (xhigh) | gpt-5.6-terra (xhigh) | 95.22 | 66 | 94.7 | 8.4 | 40 | 1.68 | 39 | 1.94 | 36 | 1.57 | 3 | 1.08 | 3.88 | 20 | xHigh | 5x

## Table7
Table 7 — Anchor scaling chain (all formulas). Anchor 0.577 Wh x 2.5 -> TPS scale -> PUE -> PQPC -> Reasoning multiplier.
Model | Anchor Wh/1,000 tokens | Tokens-Per-Second | TPS Adjustment | TPS-Scaled Wh | PUE Multiplier | PUE-Adjusted Wh | PQPC | PQPC-Adjusted Wh | Reasoning Mode | Reasoning Multiplier | Adjusted Per-Model Wh/1,000 tokens
gpt-4o-mini | 1.9233 | 78.3 | 1 | 1.9233 | 1.05 | 2.0195 | 1 | 2.0195 | None | 1 | 2.0195
gpt-5 (high) | 1.9233 | 69 | 1.1348 | 2.1826 | 1.05 | 2.2917 | 2.99 | 6.8522 | High | 6.12 | 41.9352
gpt-5 (xhigh) | 1.9233 | 61.85 | 1.266 | 2.4349 | 1.05 | 2.5566 | 2.99 | 7.6443 | xHigh | 3.75 | 28.6661
gpt-5.2 (non-reasoning) | 1.9233 | 60.3 | 1.2985 | 2.4975 | 1.05 | 2.6223 | 2.99 | 7.8408 | None | 1 | 7.8408
gpt-5.2 (xhigh) | 1.9233 | 59.39 | 1.3184 | 2.5357 | 1.05 | 2.6625 | 2.99 | 7.9609 | xHigh | 3.22 | 25.6342
gpt-5.4-nano (non-reasoning) | 1.9233 | 156.58 | 0.50006 | 0.96179 | 1.05 | 1.0099 | 2.99 | 3.0195 | None | 1 | 3.0195
gpt-5.4-nano (medium) | 1.9233 | 156 | 0.50192 | 0.96537 | 1.05 | 1.0136 | 2.99 | 3.0308 | Medium | 1.83 | 5.5463
gpt-5.4-nano (xhigh) | 1.9233 | 154.37 | 0.50722 | 0.97556 | 1.05 | 1.0243 | 2.99 | 3.0628 | xHigh | 3.7 | 11.3322
gpt-5.4-mini (non-reasoning) | 1.9233 | 145.41 | 0.53848 | 1.0357 | 1.05 | 1.0875 | 2.99 | 3.2515 | None | 1 | 3.2515
gpt-5.4-mini (medium) | 1.9233 | 140.63 | 0.55678 | 1.0709 | 1.05 | 1.1244 | 2.99 | 3.362 | Medium | 1.67 | 5.6146
gpt-5.4-mini (xhigh) | 1.9233 | 145.78 | 0.53711 | 1.033 | 1.05 | 1.0847 | 2.99 | 3.2432 | xHigh | 13.01 | 42.1945
gpt-5.4 (non-reasoning) | 1.9233 | 85.94 | 0.9111 | 1.7524 | 1.05 | 1.84 | 2.99 | 5.5015 | None | 1 | 5.5015
gpt-5.4 (xhigh) | 1.9233 | 95.16 | 0.82282 | 1.5826 | 1.05 | 1.6617 | 2.99 | 4.9685 | xHigh | 3.89 | 19.3273
gpt-5.5 (minimal) | 1.9233 | 59.88 | 1.3076 | 2.515 | 1.05 | 2.6407 | 2.99 | 7.8958 | Minimal (measured) | 1.71 | 13.5018
gpt-5.5 (low) | 1.9233 | 61.38 | 1.2757 | 2.4535 | 1.05 | 2.5762 | 2.99 | 7.7028 | Low | 1.45 | 11.1691
gpt-5.5 (medium) | 1.9233 | 60.89 | 1.2859 | 2.4733 | 1.05 | 2.5969 | 2.99 | 7.7648 | Medium | 1.69 | 13.1225
gpt-5.5 (high) | 1.9233 | 60.69 | 1.2902 | 2.4814 | 1.05 | 2.6055 | 2.99 | 7.7904 | High | 2.39 | 18.6191
gpt-5.5 (xhigh) | 1.9233 | 59.91 | 1.307 | 2.5137 | 1.05 | 2.6394 | 2.99 | 7.8918 | xHigh | 2.46 | 19.4139
gpt-5.6-luna (minimal) | 1.9233 | 129.9 | 0.60277 | 1.1593 | 1.05 | 1.2173 | 2.99 | 3.6397 | Minimal (measured) | 1.6 | 5.8235
gpt-5.6-luna (low) | 1.9233 | 131.85 | 0.59386 | 1.1422 | 1.05 | 1.1993 | 2.99 | 3.5859 | Low | 1.43 | 5.1278
gpt-5.6-luna (medium) | 1.9233 | 134.91 | 0.58039 | 1.1163 | 1.05 | 1.1721 | 2.99 | 3.5046 | Medium | 1.58 | 5.5372
gpt-5.6-luna (high) | 1.9233 | 133.12 | 0.58819 | 1.1313 | 1.05 | 1.1879 | 2.99 | 3.5517 | High | 2.1 | 7.4585
gpt-5.6-luna (xhigh) | 1.9233 | 130.2 | 0.60138 | 1.1567 | 1.05 | 1.2145 | 2.99 | 3.6313 | xHigh | 2.58 | 9.3688
gpt-5.6-sol (minimal) | 1.9233 | 52.91 | 1.4799 | 2.8463 | 1.05 | 2.9886 | 2.99 | 8.9359 | Minimal (measured) | 1.44 | 12.8677
gpt-5.6-sol (low) | 1.9233 | 53.57 | 1.4616 | 2.8112 | 1.05 | 2.9518 | 2.99 | 8.8258 | Low | 1.36 | 12.0031
gpt-5.6-sol (medium) | 1.9233 | 53.64 | 1.4597 | 2.8076 | 1.05 | 2.9479 | 2.99 | 8.8143 | Medium | 1.47 | 12.957
gpt-5.6-sol (high) | 1.9233 | 53.63 | 1.46 | 2.8081 | 1.05 | 2.9485 | 2.99 | 8.8159 | High | 1.64 | 14.4582
gpt-5.6-sol (xhigh) | 1.9233 | 55.21 | 1.4182 | 2.7277 | 1.05 | 2.8641 | 2.99 | 8.5637 | xHigh | 1.91 | 16.3566
gpt-5.6-sol (max)* | 1.9233 | 55.21 | 1.4182 | 2.7277 | 1.05 | 2.8641 | 2.99 | 8.5637 | Max (floor) | 1.91 | 16.3566
gpt-5.6-terra (minimal) | 1.9233 | 96.85 | 0.80847 | 1.555 | 1.05 | 1.6327 | 2.99 | 4.8818 | Minimal (measured) | 1.38 | 6.7368
gpt-5.6-terra (low) | 1.9233 | 93.61 | 0.83645 | 1.6088 | 1.05 | 1.6892 | 2.99 | 5.0507 | Low | 1.36 | 6.869
gpt-5.6-terra (medium) | 1.9233 | 94.86 | 0.82543 | 1.5876 | 1.05 | 1.6669 | 2.99 | 4.9842 | Medium | 1.37 | 6.8283
gpt-5.6-terra (high) | 1.9233 | 95.52 | 0.81972 | 1.5766 | 1.05 | 1.6554 | 2.99 | 4.9497 | High | 1.45 | 7.1771
gpt-5.6-terra (xhigh) | 1.9233 | 95.22 | 0.82231 | 1.5816 | 1.05 | 1.6606 | 2.99 | 4.9653 | xHigh | 1.68 | 8.3418
gpt-5.6-sol (max)*: xhigh values carried as explicit floors (limitation 18; tier not measured before the close). gpt-5 (xhigh) row added at data close: effort ladder is non-monotonic (R falls 6.12 -> 3.75).

## Table8
Table 8 — Conversion to location-based and market-based gCO2e/1,000 tokens.
Model | Adjusted Per-Model Wh/1,000 tokens | LB gCO2e/Wh | MB gCO2e/Wh | Location-Based gCO2e/1,000 tokens | Market-Based gCO2e/1,000 tokens
gpt-4o-mini | 2.0195 | 0.353 | 0.0642 | 0.71288 | 0.12965
gpt-5 (high) | 41.9352 | 0.353 | 0.0642 | 14.8031 | 2.6922
gpt-5 (xhigh) | 28.6661 | 0.353 | 0.0642 | 10.1191 | 1.8404
gpt-5.2 (non-reasoning) | 7.8408 | 0.353 | 0.0642 | 2.7678 | 0.50338
gpt-5.2 (xhigh) | 25.6342 | 0.353 | 0.0642 | 9.0489 | 1.6457
gpt-5.4-nano (non-reasoning) | 3.0195 | 0.353 | 0.0642 | 1.0659 | 0.19385
gpt-5.4-nano (medium) | 5.5463 | 0.353 | 0.0642 | 1.9578 | 0.35607
gpt-5.4-nano (xhigh) | 11.3322 | 0.353 | 0.0642 | 4.0003 | 0.72753
gpt-5.4-mini (non-reasoning) | 3.2515 | 0.353 | 0.0642 | 1.1478 | 0.20875
gpt-5.4-mini (medium) | 5.6146 | 0.353 | 0.0642 | 1.9819 | 0.36045
gpt-5.4-mini (xhigh) | 42.1945 | 0.353 | 0.0642 | 14.8947 | 2.7089
gpt-5.4 (non-reasoning) | 5.5015 | 0.353 | 0.0642 | 1.942 | 0.3532
gpt-5.4 (xhigh) | 19.3273 | 0.353 | 0.0642 | 6.8225 | 1.2408
gpt-5.5 (minimal) | 13.5018 | 0.353 | 0.0642 | 4.7661 | 0.86681
gpt-5.5 (low) | 11.1691 | 0.353 | 0.0642 | 3.9427 | 0.71706
gpt-5.5 (medium) | 13.1225 | 0.353 | 0.0642 | 4.6323 | 0.84247
gpt-5.5 (high) | 18.6191 | 0.353 | 0.0642 | 6.5725 | 1.1953
gpt-5.5 (xhigh) | 19.4139 | 0.353 | 0.0642 | 6.8531 | 1.2464
gpt-5.6-luna (minimal) | 5.8235 | 0.353 | 0.0642 | 2.0557 | 0.37387
gpt-5.6-luna (low) | 5.1278 | 0.353 | 0.0642 | 1.8101 | 0.32921
gpt-5.6-luna (medium) | 5.5372 | 0.353 | 0.0642 | 1.9546 | 0.35549
gpt-5.6-luna (high) | 7.4585 | 0.353 | 0.0642 | 2.6329 | 0.47884
gpt-5.6-luna (xhigh) | 9.3688 | 0.353 | 0.0642 | 3.3072 | 0.60148
gpt-5.6-sol (minimal) | 12.8677 | 0.353 | 0.0642 | 4.5423 | 0.82611
gpt-5.6-sol (low) | 12.0031 | 0.353 | 0.0642 | 4.2371 | 0.7706
gpt-5.6-sol (medium) | 12.957 | 0.353 | 0.0642 | 4.5738 | 0.83184
gpt-5.6-sol (high) | 14.4582 | 0.353 | 0.0642 | 5.1037 | 0.92821
gpt-5.6-sol (xhigh) | 16.3566 | 0.353 | 0.0642 | 5.7739 | 1.0501
gpt-5.6-sol (max)* | 16.3566 | 0.353 | 0.0642 | 5.7739 | 1.0501
gpt-5.6-terra (minimal) | 6.7368 | 0.353 | 0.0642 | 2.3781 | 0.43251
gpt-5.6-terra (low) | 6.869 | 0.353 | 0.0642 | 2.4248 | 0.44099
gpt-5.6-terra (medium) | 6.8283 | 0.353 | 0.0642 | 2.4104 | 0.43838
gpt-5.6-terra (high) | 7.1771 | 0.353 | 0.0642 | 2.5335 | 0.46077
gpt-5.6-terra (xhigh) | 8.3418 | 0.353 | 0.0642 | 2.9446 | 0.53554

## C_Low
Appendix C — staged low-range calculation (formulas). T uses daily-median mean/SD; R band: floor (low) / short-query edge (high) relative to 1k central.
Model | Adjusted Wh | TPS Mean | TPS SD | Reasoning Mode | Fixed_low | TPS_low | R_low | Compounded | Wh_low | LB gCO2e/1,000 tokens | MB gCO2e/1,000 tokens
gpt-4o-mini | 2.0195 | 80.1 | 23.9 | None | 0.67 | 0.77019 | 1 | 0.51603 | 1.0421 | 0.36787 | 0.066904
gpt-5 (high) | 41.9352 | 68.1 | 15.7 | High | 0.36 | 0.81265 | 0.52941 | 0.15488 | 6.495 | 2.2927 | 0.41698
gpt-5 (xhigh) | 28.6661 | 63.8 | 16.7 | xHigh | 0.36 | 0.79255 | 0.44533 | 0.12706 | 3.6423 | 1.2857 | 0.23384
gpt-5.2 (non-reasoning) | 7.8408 | 59.6 | 6.4 | None | 0.36 | 0.90303 | 1 | 0.32509 | 2.549 | 0.89979 | 0.16364
gpt-5.2 (xhigh) | 25.6342 | 59.1 | 6.9 | xHigh | 0.36 | 0.89545 | 0.45963 | 0.14817 | 3.7981 | 1.3407 | 0.24384
gpt-5.4-nano (non-reasoning) | 3.0195 | 156.6 | 18.7 | None | 0.36 | 0.89333 | 1 | 0.3216 | 0.97108 | 0.34279 | 0.062343
gpt-5.4-nano (medium) | 5.5463 | 152.3 | 22.1 | Medium | 0.36 | 0.87328 | 0.5847 | 0.18382 | 1.0195 | 0.35989 | 0.065453
gpt-5.4-nano (xhigh) | 11.3322 | 153.7 | 19.8 | xHigh | 0.36 | 0.88588 | 0.54865 | 0.17497 | 1.9828 | 0.69994 | 0.1273
gpt-5.4-mini (non-reasoning) | 3.2515 | 140.5 | 18.1 | None | 0.36 | 0.88588 | 1 | 0.31892 | 1.037 | 0.36604 | 0.066572
gpt-5.4-mini (medium) | 5.6146 | 136.7 | 15.2 | Medium | 0.36 | 0.89993 | 0.64671 | 0.20952 | 1.1763 | 0.41525 | 0.075522
gpt-5.4-mini (xhigh) | 42.1945 | 139.2 | 24.5 | xHigh | 0.36 | 0.85034 | 0.28517 | 0.087295 | 3.6834 | 1.3002 | 0.23647
gpt-5.4 (non-reasoning) | 5.5015 | 86 | 12.7 | None | 0.36 | 0.87133 | 1 | 0.31368 | 1.7257 | 0.60917 | 0.11079
gpt-5.4 (xhigh) | 19.3273 | 95.6 | 10.1 | xHigh | 0.36 | 0.90445 | 0.37018 | 0.12053 | 2.3295 | 0.82233 | 0.14956
gpt-5.5 (minimal) | 13.5018 | 60.9 | 9.2 | Minimal (measured) | 0.36 | 0.86876 | 0.59649 | 0.18655 | 2.5188 | 0.88914 | 0.16171
gpt-5.5 (low) | 11.1691 | 61.2 | 8.6 | Low | 0.36 | 0.87679 | 0.69655 | 0.21986 | 2.4557 | 0.86685 | 0.15765
gpt-5.5 (medium) | 13.1225 | 61.4 | 9.1 | Medium | 0.36 | 0.87092 | 0.60355 | 0.18923 | 2.4832 | 0.87657 | 0.15942
gpt-5.5 (high) | 18.6191 | 61.5 | 9 | High | 0.36 | 0.87234 | 0.47699 | 0.14979 | 2.789 | 0.98453 | 0.17906
gpt-5.5 (xhigh) | 19.4139 | 61.4 | 9.9 | xHigh | 0.36 | 0.86115 | 0.52439 | 0.16257 | 3.1561 | 1.1141 | 0.20262
gpt-5.6-luna (minimal) | 5.8235 | 127.8 | 19.9 | Minimal (measured) | 0.36 | 0.86527 | 0.64375 | 0.20053 | 1.1678 | 0.41222 | 0.074971
gpt-5.6-luna (low) | 5.1278 | 130 | 21.1 | Low | 0.36 | 0.86036 | 0.71329 | 0.22093 | 1.1329 | 0.3999 | 0.07273
gpt-5.6-luna (medium) | 5.5372 | 135.1 | 29.1 | Medium | 0.36 | 0.82278 | 0.6519 | 0.19309 | 1.0692 | 0.37742 | 0.068642
gpt-5.6-luna (high) | 7.4585 | 131.4 | 17.8 | High | 0.36 | 0.8807 | 0.52381 | 0.16607 | 1.2387 | 0.43725 | 0.079523
gpt-5.6-luna (xhigh) | 9.3688 | 130.1 | 20.3 | xHigh | 0.36 | 0.86503 | 0.47287 | 0.14726 | 1.3796 | 0.487 | 0.088571
gpt-5.6-sol (minimal) | 12.8677 | 53.9 | 6.4 | Minimal (measured) | 0.36 | 0.89386 | 0.70833 | 0.22794 | 2.933 | 1.0354 | 0.1883
gpt-5.6-sol (low) | 12.0031 | 53.2 | 8.2 | Low | 0.36 | 0.86645 | 0.74265 | 0.23165 | 2.7805 | 0.98152 | 0.17851
gpt-5.6-sol (medium) | 12.957 | 54.4 | 6.5 | Medium | 0.36 | 0.89327 | 0.69388 | 0.22313 | 2.8912 | 1.0206 | 0.18561
gpt-5.6-sol (high) | 14.4582 | 53.5 | 6.6 | High | 0.36 | 0.89018 | 0.64634 | 0.20713 | 2.9947 | 1.0571 | 0.19226
gpt-5.6-sol (xhigh) | 16.3566 | 54.7 | 8.5 | xHigh | 0.36 | 0.86551 | 0.60209 | 0.1876 | 3.0685 | 1.0832 | 0.197
gpt-5.6-sol (max)* | 16.3566 | 54.7 | 8.5 | Max (floor) | 0.36 | 0.86551 | 0.60209 | 0.1876 | 3.0685 | 1.0832 | 0.197
gpt-5.6-terra (minimal) | 6.7368 | 94.5 | 11.9 | Minimal (measured) | 0.36 | 0.88816 | 0.73188 | 0.23401 | 1.5765 | 0.5565 | 0.10121
gpt-5.6-terra (low) | 6.869 | 93.1 | 9.7 | Low | 0.36 | 0.90564 | 0.74265 | 0.24213 | 1.6632 | 0.5871 | 0.10678
gpt-5.6-terra (medium) | 6.8283 | 93.5 | 9.1 | Medium | 0.36 | 0.91131 | 0.73723 | 0.24186 | 1.6515 | 0.58298 | 0.10603
gpt-5.6-terra (high) | 7.1771 | 94 | 9.7 | High | 0.36 | 0.90646 | 0.70345 | 0.22955 | 1.6475 | 0.58158 | 0.10577
gpt-5.6-terra (xhigh) | 8.3418 | 94.7 | 8.4 | xHigh | 0.36 | 0.91853 | 0.64286 | 0.21257 | 1.7732 | 0.62595 | 0.11384

## C_High
Appendix C — staged high-range calculation (formulas). T uses daily-median mean/SD; R band: floor (low) / short-query edge (high) relative to 1k central.
Model | Adjusted Wh | TPS Mean | TPS SD | Reasoning Mode | Fixed_high | TPS_high | R_high | Compounded | Wh_high | LB gCO2e/1,000 tokens | MB gCO2e/1,000 tokens
gpt-4o-mini | 2.0195 | 80.1 | 23.9 | None | 1.03 | 1.4253 | 1 | 1.468 | 2.9647 | 1.0465 | 0.19033
gpt-5 (high) | 41.9352 | 68.1 | 15.7 | High | 1.52 | 1.2996 | 1.4869 | 2.9373 | 123.1767 | 43.4814 | 7.9079
gpt-5 (xhigh) | 28.6661 | 63.8 | 16.7 | xHigh | 1.52 | 1.3546 | 1.5387 | 3.168 | 90.8147 | 32.0576 | 5.8303
gpt-5.2 (non-reasoning) | 7.8408 | 59.6 | 6.4 | None | 1.52 | 1.1203 | 1 | 1.7029 | 13.3517 | 4.7132 | 0.85718
gpt-5.2 (xhigh) | 25.6342 | 59.1 | 6.9 | xHigh | 1.52 | 1.1322 | 1.1149 | 1.9187 | 49.1834 | 17.3617 | 3.1576
gpt-5.4-nano (non-reasoning) | 3.0195 | 156.6 | 18.7 | None | 1.52 | 1.1356 | 1 | 1.7261 | 5.2121 | 1.8399 | 0.33462
gpt-5.4-nano (medium) | 5.5463 | 152.3 | 22.1 | Medium | 1.52 | 1.1697 | 1.082 | 1.9237 | 10.6696 | 3.7664 | 0.68499
gpt-5.4-nano (xhigh) | 11.3322 | 153.7 | 19.8 | xHigh | 1.52 | 1.1479 | 1.1081 | 1.9334 | 21.9096 | 7.7341 | 1.4066
gpt-5.4-mini (non-reasoning) | 3.2515 | 140.5 | 18.1 | None | 1.52 | 1.1479 | 1 | 1.7448 | 5.6731 | 2.0026 | 0.36421
gpt-5.4-mini (medium) | 5.6146 | 136.7 | 15.2 | Medium | 1.52 | 1.1251 | 1.0659 | 1.8228 | 10.2342 | 3.6127 | 0.65704
gpt-5.4-mini (xhigh) | 42.1945 | 139.2 | 24.5 | xHigh | 1.52 | 1.2136 | 0.9608 | 1.7724 | 74.7839 | 26.3987 | 4.8011
gpt-5.4 (non-reasoning) | 5.5015 | 86 | 12.7 | None | 1.52 | 1.1733 | 1 | 1.7834 | 9.8111 | 3.4633 | 0.62988
gpt-5.4 (xhigh) | 19.3273 | 95.6 | 10.1 | xHigh | 1.52 | 1.1181 | 1.0411 | 1.7695 | 34.1989 | 12.0722 | 2.1956
gpt-5.5 (minimal) | 13.5018 | 60.9 | 9.2 | Minimal (measured) | 1.52 | 1.1779 | 1.2105 | 2.1674 | 29.2641 | 10.3302 | 1.8788
gpt-5.5 (low) | 11.1691 | 61.2 | 8.6 | Low | 1.52 | 1.1635 | 1.131 | 2.0003 | 22.341 | 7.8864 | 1.4343
gpt-5.5 (medium) | 13.1225 | 61.4 | 9.1 | Medium | 1.52 | 1.174 | 1.1893 | 2.1224 | 27.8508 | 9.8313 | 1.788
gpt-5.5 (high) | 18.6191 | 61.5 | 9 | High | 1.52 | 1.1714 | 1.251 | 2.2276 | 41.4754 | 14.6408 | 2.6627
gpt-5.5 (xhigh) | 19.4139 | 61.4 | 9.9 | xHigh | 1.52 | 1.1922 | 1.4309 | 2.5931 | 50.3414 | 17.7705 | 3.2319
gpt-5.6-luna (minimal) | 5.8235 | 127.8 | 19.9 | Minimal (measured) | 1.52 | 1.1844 | 1.275 | 2.2954 | 13.3675 | 4.7187 | 0.85819
gpt-5.6-luna (low) | 5.1278 | 130 | 21.1 | Low | 1.52 | 1.1938 | 1.2098 | 2.1952 | 11.2565 | 3.9735 | 0.72266
gpt-5.6-luna (medium) | 5.5372 | 135.1 | 29.1 | Medium | 1.52 | 1.2745 | 1.2468 | 2.4155 | 13.3749 | 4.7214 | 0.85867
gpt-5.6-luna (high) | 7.4585 | 131.4 | 17.8 | High | 1.52 | 1.1567 | 1.1333 | 1.9926 | 14.8618 | 5.2462 | 0.95413
gpt-5.6-luna (xhigh) | 9.3688 | 130.1 | 20.3 | xHigh | 1.52 | 1.1849 | 1.3295 | 2.3944 | 22.4325 | 7.9187 | 1.4402
gpt-5.6-sol (minimal) | 12.8677 | 53.9 | 6.4 | Minimal (measured) | 1.52 | 1.1347 | 1.25 | 2.156 | 27.7428 | 9.7932 | 1.7811
gpt-5.6-sol (low) | 12.0031 | 53.2 | 8.2 | Low | 1.52 | 1.1822 | 1.1985 | 2.1537 | 25.8515 | 9.1256 | 1.6597
gpt-5.6-sol (medium) | 12.957 | 54.4 | 6.5 | Medium | 1.52 | 1.1357 | 1.1973 | 2.0668 | 26.7798 | 9.4533 | 1.7193
gpt-5.6-sol (high) | 14.4582 | 53.5 | 6.6 | High | 1.52 | 1.1407 | 1.2439 | 2.1568 | 31.1834 | 11.0077 | 2.002
gpt-5.6-sol (xhigh) | 16.3566 | 54.7 | 8.5 | xHigh | 1.52 | 1.184 | 1.1152 | 2.0069 | 32.8267 | 11.5878 | 2.1075
gpt-5.6-sol (max)* | 16.3566 | 54.7 | 8.5 | Max (floor) | 1.52 | 1.184 | 1.1152 | 2.0069 | 32.8267 | 11.5878 | 2.1075
gpt-5.6-terra (minimal) | 6.7368 | 94.5 | 11.9 | Minimal (measured) | 1.52 | 1.1441 | 1.1594 | 2.0162 | 13.5829 | 4.7948 | 0.87202
gpt-5.6-terra (low) | 6.869 | 93.1 | 9.7 | Low | 1.52 | 1.1163 | 1.1324 | 1.9214 | 13.1978 | 4.6588 | 0.8473
gpt-5.6-terra (medium) | 6.8283 | 93.5 | 9.1 | Medium | 1.52 | 1.1078 | 1.1898 | 2.0035 | 13.6803 | 4.8291 | 0.87827
gpt-5.6-terra (high) | 7.1771 | 94 | 9.7 | High | 1.52 | 1.1151 | 1.1448 | 1.9404 | 13.9263 | 4.916 | 0.89407
gpt-5.6-terra (xhigh) | 8.3418 | 94.7 | 8.4 | xHigh | 1.52 | 1.0973 | 1.1548 | 1.9261 | 16.0669 | 5.6716 | 1.0315

## Table9
Table 9 — uncertainty bounds (links to C_Low / C_High and Table 8).
Model | LB Low | LB Central | LB High | MB Low | MB Central | MB High
gpt-4o-mini | 0.36787 | 0.71288 | 1.0465 | 0.066904 | 0.12965 | 0.19033
gpt-5 (high) | 2.2927 | 14.8031 | 43.4814 | 0.41698 | 2.6922 | 7.9079
gpt-5 (xhigh) | 1.2857 | 10.1191 | 32.0576 | 0.23384 | 1.8404 | 5.8303
gpt-5.2 (non-reasoning) | 0.89979 | 2.7678 | 4.7132 | 0.16364 | 0.50338 | 0.85718
gpt-5.2 (xhigh) | 1.3407 | 9.0489 | 17.3617 | 0.24384 | 1.6457 | 3.1576
gpt-5.4-nano (non-reasoning) | 0.34279 | 1.0659 | 1.8399 | 0.062343 | 0.19385 | 0.33462
gpt-5.4-nano (medium) | 0.35989 | 1.9578 | 3.7664 | 0.065453 | 0.35607 | 0.68499
gpt-5.4-nano (xhigh) | 0.69994 | 4.0003 | 7.7341 | 0.1273 | 0.72753 | 1.4066
gpt-5.4-mini (non-reasoning) | 0.36604 | 1.1478 | 2.0026 | 0.066572 | 0.20875 | 0.36421
gpt-5.4-mini (medium) | 0.41525 | 1.9819 | 3.6127 | 0.075522 | 0.36045 | 0.65704
gpt-5.4-mini (xhigh) | 1.3002 | 14.8947 | 26.3987 | 0.23647 | 2.7089 | 4.8011
gpt-5.4 (non-reasoning) | 0.60917 | 1.942 | 3.4633 | 0.11079 | 0.3532 | 0.62988
gpt-5.4 (xhigh) | 0.82233 | 6.8225 | 12.0722 | 0.14956 | 1.2408 | 2.1956
gpt-5.5 (minimal) | 0.88914 | 4.7661 | 10.3302 | 0.16171 | 0.86681 | 1.8788
gpt-5.5 (low) | 0.86685 | 3.9427 | 7.8864 | 0.15765 | 0.71706 | 1.4343
gpt-5.5 (medium) | 0.87657 | 4.6323 | 9.8313 | 0.15942 | 0.84247 | 1.788
gpt-5.5 (high) | 0.98453 | 6.5725 | 14.6408 | 0.17906 | 1.1953 | 2.6627
gpt-5.5 (xhigh) | 1.1141 | 6.8531 | 17.7705 | 0.20262 | 1.2464 | 3.2319
gpt-5.6-luna (minimal) | 0.41222 | 2.0557 | 4.7187 | 0.074971 | 0.37387 | 0.85819
gpt-5.6-luna (low) | 0.3999 | 1.8101 | 3.9735 | 0.07273 | 0.32921 | 0.72266
gpt-5.6-luna (medium) | 0.37742 | 1.9546 | 4.7214 | 0.068642 | 0.35549 | 0.85867
gpt-5.6-luna (high) | 0.43725 | 2.6329 | 5.2462 | 0.079523 | 0.47884 | 0.95413
gpt-5.6-luna (xhigh) | 0.487 | 3.3072 | 7.9187 | 0.088571 | 0.60148 | 1.4402
gpt-5.6-sol (minimal) | 1.0354 | 4.5423 | 9.7932 | 0.1883 | 0.82611 | 1.7811
gpt-5.6-sol (low) | 0.98152 | 4.2371 | 9.1256 | 0.17851 | 0.7706 | 1.6597
gpt-5.6-sol (medium) | 1.0206 | 4.5738 | 9.4533 | 0.18561 | 0.83184 | 1.7193
gpt-5.6-sol (high) | 1.0571 | 5.1037 | 11.0077 | 0.19226 | 0.92821 | 2.002
gpt-5.6-sol (xhigh) | 1.0832 | 5.7739 | 11.5878 | 0.197 | 1.0501 | 2.1075
gpt-5.6-sol (max)* | 1.0832 | 5.7739 | 11.5878 | 0.197 | 1.0501 | 2.1075
gpt-5.6-terra (minimal) | 0.5565 | 2.3781 | 4.7948 | 0.10121 | 0.43251 | 0.87202
gpt-5.6-terra (low) | 0.5871 | 2.4248 | 4.6588 | 0.10678 | 0.44099 | 0.8473
gpt-5.6-terra (medium) | 0.58298 | 2.4104 | 4.8291 | 0.10603 | 0.43838 | 0.87827
gpt-5.6-terra (high) | 0.58158 | 2.5335 | 4.916 | 0.10577 | 0.46077 | 0.89407
gpt-5.6-terra (xhigh) | 0.62595 | 2.9446 | 5.6716 | 0.11384 | 0.53554 | 1.0315

## T1_GPT55_Grid
Table 1 — GPT-5.5 measured reasoning-mode multipliers: difficulty x length grid (medians, v2 fixed-task records, frozen corpus).
Mode | Hard-short (100/300) | n | Hard-medium (1k/1k) | n | Hard-long (10k/1.5k) | n | Easy floor (10k summarise) | Heavy task k=36 (1k) | n
Minimal | 2.07 | 37 | 1.71 | 39 | 1.84 | 4 | 1.02 | 5.82 | 12
Low | 1.64 | 37 | 1.45 | 39 | 1.34 | 4 | 1.01 | 2.07 | 20
Medium | 2.01 | 37 | 1.69 | 39 | 1.54 | 4 | 1.02 | 3.21 | 12
High | 2.99 | 36 | 2.39 | 39 | 2.2 | 4 | 1.14 | 4.93 | 12
Xhigh | 3.52 | 37 | 2.46 | 38 | 2.76 | 3 | 1.29 | 5.62 | 12
Hard-long cells carry small n (2-4): reported with that caveat. Heavy task (36-element puzzle, added 30 Jul) is the task-demand sensitivity: reported separately, NOT compounded into Table 9 bands.

## TableB1
Table B1 — OpenAI TPS summary, daily medians pooled per calendar day, full campaign 24 Jun - 22 Aug 2026.
Model variant | Mean visible TPS (o200k, daily medians) | SD | Days (n)
gpt-4o-mini | 80.1 | 23.9 | 57
gpt-5 (high) | 68.1 | 15.7 | 56
gpt-5 (low) | 61.7 | 14.2 | 57
gpt-5 (medium) | 60.8 | 14.5 | 57
gpt-5 (minimal) | 61.4 | 13.3 | 57
gpt-5 (xhigh) | 63.8 | 16.7 | 56
gpt-5.2 (high) | 57.5 | 6.4 | 56
gpt-5.2 (low) | 57 | 6 | 57
gpt-5.2 (medium) | 57.9 | 6.3 | 57
gpt-5.2 (minimal) | 59.6 | 6.4 | 57
gpt-5.2 (xhigh) | 59.1 | 6.9 | 56
gpt-5.4 (high) | 93.4 | 11.3 | 56
gpt-5.4 (low) | 92.1 | 16.3 | 57
gpt-5.4 (medium) | 93 | 10.7 | 57
gpt-5.4 (minimal) | 86 | 12.7 | 57
gpt-5.4 (xhigh) | 95.6 | 10.1 | 44
gpt-5.4-mini (high) | 140.4 | 13.5 | 56
gpt-5.4-mini (low) | 137.2 | 14.3 | 57
gpt-5.4-mini (medium) | 136.7 | 15.2 | 57
gpt-5.4-mini (minimal) | 140.5 | 18.1 | 57
gpt-5.4-mini (xhigh) | 139.2 | 24.5 | 23
gpt-5.4-nano (high) | 155.2 | 19.5 | 56
gpt-5.4-nano (low) | 154.1 | 18.5 | 57
gpt-5.4-nano (medium) | 152.3 | 22.1 | 57
gpt-5.4-nano (minimal) | 156.6 | 18.7 | 57
gpt-5.4-nano (xhigh) | 153.7 | 19.8 | 56
gpt-5.5 (high) | 61.5 | 9 | 56
gpt-5.5 (low) | 61.2 | 8.6 | 57
gpt-5.5 (medium) | 61.4 | 9.1 | 57
gpt-5.5 (minimal) | 60.9 | 9.2 | 57
gpt-5.5 (xhigh) | 61.4 | 9.9 | 56
gpt-5.6-luna (high) | 131.4 | 17.8 | 41
gpt-5.6-luna (low) | 130 | 21.1 | 41
gpt-5.6-luna (medium) | 135.1 | 29.1 | 41
gpt-5.6-luna (minimal) | 127.8 | 19.9 | 41
gpt-5.6-luna (xhigh) | 130.1 | 20.3 | 41
gpt-5.6-sol (high) | 53.5 | 6.6 | 39
gpt-5.6-sol (low) | 53.2 | 8.2 | 41
gpt-5.6-sol (medium) | 54.4 | 6.5 | 40
gpt-5.6-sol (minimal) | 53.9 | 6.4 | 40
gpt-5.6-sol (xhigh) | 54.7 | 8.5 | 40
gpt-5.6-terra (high) | 94 | 9.7 | 40
gpt-5.6-terra (low) | 93.1 | 9.7 | 39
gpt-5.6-terra (medium) | 93.5 | 9.1 | 40
gpt-5.6-terra (minimal) | 94.5 | 11.9 | 40
gpt-5.6-terra (xhigh) | 94.7 | 8.4 | 40
Mean SD across variants = 13.4. Variants with fewer than 8 collection days excluded (legacy gpt-5-mini/nano/5.1).

## Levers
Envelope log-factor report (Section 3.8 / stub after Table 9): ln(high/low) per factor. Larger = wider contribution to the envelope.
Model | ln A span | ln PQPC span | ln P span | ln T span | ln R span | R heavy (k=36) central
gpt-4o-mini | 0.34 | 0 | 0.08 | 0.62 | 0 | 1
gpt-5 (high) | 0.34 | 1.03 | 0.08 | 0.47 | 1.03 | 14.39
gpt-5 (xhigh) | 0.34 | 1.03 | 0.08 | 0.54 | 1.24 | 8.71
gpt-5.2 (non-reasoning) | 0.34 | 1.03 | 0.08 | 0.22 | 0 | 1
gpt-5.2 (xhigh) | 0.34 | 1.03 | 0.08 | 0.23 | 0.89 | 7.08
gpt-5.4-nano (non-reasoning) | 0.34 | 1.03 | 0.08 | 0.24 | 0 | 1
gpt-5.4-nano (medium) | 0.34 | 1.03 | 0.08 | 0.29 | 0.62 | 3.62
gpt-5.4-nano (xhigh) | 0.34 | 1.03 | 0.08 | 0.26 | 0.7 | 8.31
gpt-5.4-mini (non-reasoning) | 0.34 | 1.03 | 0.08 | 0.26 | 0 | 1
gpt-5.4-mini (medium) | 0.34 | 1.03 | 0.08 | 0.22 | 0.5 | 3.66
gpt-5.4-mini (xhigh) | 0.34 | 1.03 | 0.08 | 0.36 | 1.21 | 35.9
gpt-5.4 (non-reasoning) | 0.34 | 1.03 | 0.08 | 0.3 | 0 | 1
gpt-5.4 (xhigh) | 0.34 | 1.03 | 0.08 | 0.21 | 1.03 | 6.84
gpt-5.5 (minimal) | 0.34 | 1.03 | 0.08 | 0.3 | 0.71 | 5.82
gpt-5.5 (low) | 0.34 | 1.03 | 0.08 | 0.28 | 0.48 | 2.07
gpt-5.5 (medium) | 0.34 | 1.03 | 0.08 | 0.3 | 0.68 | 3.21
gpt-5.5 (high) | 0.34 | 1.03 | 0.08 | 0.29 | 0.96 | 4.93
gpt-5.5 (xhigh) | 0.34 | 1.03 | 0.08 | 0.33 | 1 | 5.62
gpt-5.6-luna (minimal) | 0.34 | 1.03 | 0.08 | 0.31 | 0.68 | 2.71
gpt-5.6-luna (low) | 0.34 | 1.03 | 0.08 | 0.33 | 0.53 | 2.06
gpt-5.6-luna (medium) | 0.34 | 1.03 | 0.08 | 0.44 | 0.65 | 2.7
gpt-5.6-luna (high) | 0.34 | 1.03 | 0.08 | 0.27 | 0.77 | 4.03
gpt-5.6-luna (xhigh) | 0.34 | 1.03 | 0.08 | 0.31 | 1.03 | 5.31
gpt-5.6-sol (minimal) | 0.34 | 1.03 | 0.08 | 0.24 | 0.57 | 2.51
gpt-5.6-sol (low) | 0.34 | 1.03 | 0.08 | 0.31 | 0.48 | 2.06
gpt-5.6-sol (medium) | 0.34 | 1.03 | 0.08 | 0.24 | 0.55 | 2.61
gpt-5.6-sol (high) | 0.34 | 1.03 | 0.08 | 0.25 | 0.65 | 3.19
gpt-5.6-sol (xhigh) | 0.34 | 1.03 | 0.08 | 0.31 | 0.62 | 3.66
gpt-5.6-sol (max)* | 0.34 | 1.03 | 0.08 | 0.31 | 0.62 | 3.66
gpt-5.6-terra (minimal) | 0.34 | 1.03 | 0.08 | 0.25 | 0.46 | 2.28
gpt-5.6-terra (low) | 0.34 | 1.03 | 0.08 | 0.21 | 0.42 | 2.41
gpt-5.6-terra (medium) | 0.34 | 1.03 | 0.08 | 0.2 | 0.48 | 2.48
gpt-5.6-terra (high) | 0.34 | 1.03 | 0.08 | 0.21 | 0.49 | 2.8
gpt-5.6-terra (xhigh) | 0.34 | 1.03 | 0.08 | 0.18 | 0.59 | 3.88
Cross-variant means: PQPC 1.03, R 0.71, A 0.34, T 0.3, P 0.08 -> envelope ranking: PQPC > R > A > T > P.